## Sheet1
STT | Tên ví dụ | File | Loại | Code | Comment
1 | Tần số HTD Việt Nam | hình vẽ | data |  | 2016, excel
2 | Mô phỏng đáp ứng sơ cấp HTĐ Việt Nam | VN system, PSS/E raw, dyr | file tính | python | 2016, wind and no wind
3 | Xác định CCT | New England raw/dyr
4 | Dao động công suất | Kundur raw/dyr |  | python | OK
VN system, PSS/E raw, dyr
5 | Vai trò của PSS | Kundur raw/dyr |  | python | Vref change
|  | VN system, PSS/E raw, dyr |  |  | OK
6 | Mode shape/participation | none | presentation | MATLAB | DSItool can do this too
7 | Nhận dạng dao động | Các file mô phỏng dao động |  | MATLAB
8 | Dao động, ổn định | VN system, PSS/E, multiple cases |  | python, MATLAB | Yes, VN system
9 | Nghiệm riêng khi có AVR thay đổi | none | presentation. Show on slide | MATLAB
10 | Mô phỏng hệ thống không AVR | New England raw/dyr |  | python
11 | Sụp đổ điện áp | New England raw/dyr |  | python | Xem VD 10
11 |  | Nordic raw/dyr |  | python | OK
12 |  | VN system (2015) |  | python | OK
12 | Ma trận Jacobi | any |  | MATLAB
13 | VCA, eigen and participation | New England raw/dyr |  | MATLAB
13 |  | Nordic raw/dyr |  | MATLAB
14 | Impedance based | New England raw/dyr |  | python, MATLAB
14 |  | Nordic raw/dyr |  | python, MATLAB
15 | Sensitivity | Nordic raw/dyr | presentation
15 |  | New England raw/dyr
16 |  | VN system
16 | PV curve | any |  | python, vba | ok, New Eng
17 | V-Q curve | any |  | python, vba | ok, New Eng
18 | OPF based loadability margin |  |  | python | Kundur system, 1-2, 3-4, with help and no help from non participating gens New Eng test with G38 trip
19 | OPF based load shed |  |  |  | Also from above examples